- EFL Contractor HSE Management System

- Guidelines

- EFL Contractor Health and Safety Plan Template

- Document No.		HSE41C04

- Contract Details

| Contractor name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contractor address: |  |  |  |  |  |
| Contractor representative: |  |  |  |  |  |
| EFL Contract Manager: | Hira Shandil |  |  |  |  |
| Contract description: | Supply to Naluwai Farm, Vunidawa - Naitasiri |  |  |  |  |
| Location of works: | Naitasiri |  |  |  |  |
| Timing of works (approximate): |  | Start date: | 25/06/18 | End date: | 23/07/18 |

Instructions

This document is to be submitted as part of the HSE tender specification to potential bidders. They are to be submitted back to EFL for evaluation.

- Table of Content

Table of Content	2

1.	Contract Details	2

2.	Responsibilities	3

3.	Emergency contact details	3

4.	Scope and Task Details	3

5.	Risk Assessment	3

6.	Safe Work Procedures	4

7.	Personal Protective Equipment	4

8.	Accessing Site/Times of work	5

9.	Fencing and separation of work	5

10.	Signs and warnings	5

11.	General storage & disposal of waste	6

12.	First Aid and Injury Management	6

13.	Emergency Procedures	6

14.	Incident reporting, recording and investigation	7

15.	Health and Safety Performance Monitoring	7

16.	Specialised Work or Licensing	7

17.	Training and Induction Requirements	7

18.	Workplace Health and Safety Inpection	8

19.	Health and Safety Consultation	8

20.	Plant and Equipment Register	8

21.	Chemical Management	8

22.	Subcontractor Management	9

23.	Sign Off	9

## Health and Safety Plan Template

# Contract Details

| Contractor name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contractor address: |  |  |  |  |  |
| Contractor representative: |  |  |  |  |  |
| EFL Contract Manager: | Hira Shandil |  |  |  |  |
| Contract description: | Supply to Naluwai Farm, Vunidawa - Naitasiri |  |  |  |  |
| Location of works: | Naitasiri |  |  |  |  |
| Timing of works (approximate): |  | Start date: | 25/06/18 | End date: | 23/07/18 |

# Responsibilities

Briefly explain the OHS roles and responsibilities of Contractor staff involved in the contract

| Name | Position held | Safety responsibilities | Contact number (direct) |
| --- | --- | --- | --- |

- Emergency contact details

| Contact | Name | Position | Contact number (direct) |
| --- | --- | --- | --- |
| First contact |  |  |  |
| Second contact |  |  |  |
| Third contact |  |  |  |
| Fourth contact |  |  |  |

- Scope and Task Details

List Major Tasks

- Risk Assessment

Risk assessment is a fundamental tool in the management of risk. It involves the identification of hazards and control measures. In accordance with Form HSE41C11, describe how you plan to carry out this process for this particular contract. Also submit a comprehensive JSA outlining your control options for the contract.

- Safe Work Procedures

After completing the risk assessment, you must compile a safe system of work describing how you plan to control the hazards you have identified. Complete the following section outlining the Safe Work Procedures/Permit Systems required for the contract and how you will ensure that all employees and subcontractors understand the Safe Work Procedures (SWP).  Also attach copies of the relevant SWP.

EFL Minimum Requirement:

Following Procedures from EFL Distribution Safe Work Procedure Manual

DIST-01 : Securing Ladder on pole

DIST-02 : Use of elevated platform vehicle

DIST-31 : Pole Erection

DIST-32 : Manual Pole Erection

DIST-33 : Installation of Fly Stay

DIST-34 : Installation of Ground Stay

DIST-35 : Stringing of Conductors

DIST-36 : Wiring of Transformers

DIST-48 : Cutting Trees using Chainsaws

DIST-51 - Traffic Control

DIST-62 : Use of Pruners

DIST-67 : Pedestrian Control

- Personal Protective Equipment

Where risk assessment identifies the need for personal protective equipment (PPE), then PPE must be made available. List down below the PPE you will require for this project.

EFL Minimum Requirement:

Safety Helmet

Safety eye glasses

Leather gloves

Overalls

High Visibility Vest

Safety Boot/Safety Gumboot

Rain Suit

Safety Harness

- Accessing Site/Times of work

If work is going to be carried out at EFL premises, then it is important to determine when you will be accessing the site.. You may also need to sign a PASS and sign in and out. This will avoid conflicts with other activities which may be continuing on site during contract works Describe below your site access requirements.

EFL Minimum Requirement:

Award letter to permit entry to depot for Safety Instruction.

Employee ID Card for all contractor employees who need to enter the Depot.

Visitor Pass.

Project Supervisor/Engineer approval for entry into Depot.

- Fencing and separation of work

In order to protect our employees as well as general members of the public, the work areas should, so far as is possible, be physically isolated with barriers like bollards, cones, tapes, netting, etc. Describe below how will you fence or separate your work.

EFL Minimum Requirement:

All excavations (pole holes, earthing treches) are to be barricaded using barrier mesh and maintained 24 HOURS A DAY.

6' x 4' signboards at all approaches to the project site to be maintained for the duration of the project.

Portable signboards at all approaches to the jobsite at least 50m from the jobsite.

Bollards/Cones to be placed along the jobsite at intervals of 10m

Safety Observers to be stationed where they have clear view of the works.

Pedestrian and Traffic control shall be in compliance with EFL procedures.

Personnel to be assigned to assist pedestrians past the jobsite.

- Signs and warnings

Sufficient signs should be erected or placed so that adequate warning is afforded around the worksite. Describe the kinds of notices you will be putting up and places where you will be putting this.

EFL Minimum Requirement:

6' x 4' signboards at all approaches to the project site.

Reflective, High visibility Portable signboards at 50m intervals along the job site, and 50m from all  ends of the job site and all approaches to the job site.

Danger lanterns to be placed at 20m intervals along the job site.

Safety Observers to be stationed where they have clear view of the works.

Pedestrian and Traffic control shall be in compliance with EFL procedures.

Personnel to be assigned to assist pedestrians past the jobsite.

- General storage & disposal of waste

Describe below what waste do you anticipate producing and how you plan to store and/or dispose off waste. Must take into account the nature of the waste e.g. hazardous/flammable.

EFL Minimum Requirement:

All vegetation spoils are to be disposed off safely at location nominated by EFL Supervisor.

- First Aid and Injury Management

A first aid program for contractors is outlined in the EFL Safety Manual.  Please describe below any additional first aid needs and specific Injury management process for this contract

EFL Minimum Requirement:

In compliance with EFL Safety Manual.

- Emergency Procedures

Identify specific emergency procedures or equipment required for the contract.

EFL Minimum Requirement:

CPR and First Aid Training for workers.

- Incident reporting, recording and investigation

Describe how incidents will be reported, recorded and investigated during the contract.

EFL Minimum Requirement:

All incidents (including damage to third party property) to be reported immediately to the Project Manager via phone, and within 12 hours in writing.

EFL internal procedures on accident reporting will then follow.

- Health and Safety Performance Monitoring

Describe how health and safety performance statistics associated with the contract will be compiled for review by EFL using Form

HSE41C33.

EFL Minimum Requirement:

HSE41C33 - EFL Contractor Monthly HSE Performance Report

HSE41C34 - EFL Contractor Weekly HSE Minutes Recorder

- Specialised Work or Licensing

List any special licences required for the contract.

EFL Minimum Requirement:

1 x EFL issued Lineman/Line Worker/Line Mechanic Certificate

EFL issued Trainee Line Workers Certificate

All personnel who will be working on poles to have EFL issued Pole Access ID.

Chainsaw operators to have Forestry issued Chainsaw Operator Certificate

EFL issued Pole Access Authorisation

- Training and Induction Requirements

Training and inductions for contractors are to be completed in accordance with the EFL Training requirements.  List any relevant training required for the contract works in relation to safety, for example safe procedure training and attach training certificates of workers. Ensure EFL’s Induction Checklist for Contractor’s is filled before commencement of work using Form HSE41C14

EFL Minimum Requirement:

1. Safe Work Procedure Training - Annually

2. EFL Safety Manual Training - 6 monthly

3. HSE Training - Annually

4. EFL/Contractor HSE Management System Training - Annually

In the event that 1, 2 or 3 above has not been conducted, the contractor shall undertake to get the relevant training completed within 2 weeks of award of project. These training can be conducted by EFL at a cost to the contractor.

All Contractors intending to provide service to EFL shall be required to attend the  Annual EFL/Contractor HSE Management System Training.

- Workplace Health and Safety Inspection

Health and Safety Inspections play an important role in the identification of hazards at the workplace and in the development of control measures. Outline the procedures and methods by which contract workplaces will be inspected on a regular basis. You may use Form HSE41C32

EFL Minimum Requirement:

EFL will carry out weekly inspections as a minimum.

Contractor shall carry out daily Jobsite Safety Assessment.

Contractor shall carry out daily Safety Visits to jobsite.

- Health and Safety Consultation

Consultation with employees provides an important mechanism whereby health and safety issues can be dealt with in a manner that promotes ownership and prompt resolution. Describe how this arrangement is in place, e.g. Safety meetings and how will the minutes be conveyed to EFL using Form HSE41C34 on a monthly basis

EFL Minimum Requirement:

Contractor to submit weekly and Monthly reports as follows :

HSE41C33 - EFL Contractor Monthly HSE Performance Report

HSE41C34 - EFL Contractor Weekly HSE Minutes Recorder

- Plant and Equipment Register

Complete the Plant and Equipment Register presented as Form HSE41C12

- Chemical Management

Complete the attached Chemical Register listing all chemicals to be used presented as Form HSE41C13

- Subcontractor Management

Complete the attached Subcontractor List detailing the subcontractors to be used and the details of the subcontractor management:

| Sub Contractor Name | Sub Contractor Representative Name | Description of Work | Date of Local Induction |
| --- | --- | --- | --- |

- Sign Off

Sign off after agreeing to the undertaking outlined below:

“We, the Contractor acknowledges that EFL is committed to its obligations under the Occupational Health and Safety At Work Act, 1996 to provide, as far as practicable, a safe and healthy working environment for workers and non-workers (including us, the contractors). Accordingly, we the contractor (and our subcontractor/s, where applicable), recognise that it is our legal duty to co-operate in everyway possible to ensure total compliance on the part of EFL. As such, we shall at all times work in a safe manner and not put ourselves, EFL workers, or others at risk. We the contractor (and our subcontractor/s, where applicable) shall comply with the EFL’s reasonable directions in relation to compliance with the OHS legislation EFL’s OHS policy, procedures and standards ,including completion of EFL’s occupational health and safety induction, work method statements, and other requirements as determine by the site specific risk. We, the contractors shall also familiarize ourselves with the work area and any potential hazards prior to commencing work.”

This Safety Management Plan and any attachments incorporate all the safety requirements outlined in the contract.

| Name: |  | Position: |  |
| --- | --- | --- | --- |
| Signature: |  | Date: | / / |