## Slide 1: Intelligent Integration of Energy Storage Systems in the South Pacific Region
Pacific Power Association Conference 2018
Koror | Palau
July/August 2018
Wilhelm van Butselaar | Area Manager Energy Storage & Integration
Wärtsilä Singapore Pte Ltd

## Slide 2
Remember?

## Slide 3
Wärtsilä corporation - introduction
WÄRTSILÄ POWERING THE WORLD
SOLUTIONS FOR
MARINE/
OFFSHORE
POWER GENERATION
Chart: 
| Ship Power | Power Plants | Services
Column1 | 36 | 24 | 40
Marine
Solutions
34%
Energy
Solutions
22%
Services
43%
Listed in Helsinki
4,9 billion € turnover
2,6% or 136M€ in R&D
27,400 MW Installed Base in Asia & Middles East
Net sales by business 2017
18,800 PROFESSIONALS
SERVICES

## Slide 4
Market share, <500 MW market
Chart: September 2015
| General Electric | Siemens | Mitsubishi | Wärtsilä | Ansaldo | Others
 | 6596 | 4285 | 3362 | 1687 | 930 | 157
Chart: September 2016
| General Electric | Siemens | Wärtsilä | Mitsubishi | Ansaldo | Others
 | 6122.2 | 4408.6 | 2555 | 2086.75 | 1252.5 | 969.4
17.0 GW
17.4 GW
Source: McCoy Power Report
Includes GT-based gas and liquid-fuelled, <500 MW power plants with prime movers above 5 MW
Includes estimated output of steam turbines for combined cycles (factor 0.5 for industrial turbines, 0.25 for aeros)
Oil & Gas projects not included. Other combustion engines not included.

## Slide 5
Wärtsilä
Leading systems integrator for ultra-flexible internal combustion engine based power plants, solar PV and LNG
Over 63 GW deployed in 176 countries; Strong market share in Caribbean
Global EPC capabilities
Experienced in electrically-islanded systems
Greensmith
Established energy storage leader – unparalleled experience, rapid deployment and proven performance and safety
Deployed over 150MW energy storage – including largest indoor system in North America
Leading energy storage management software controls to optimize and monetize solar + PV
Technology-neutral for best of breed and future-proofing
Greensmith A Wärtsilä Company
On July 3, 2017 Wärtsilä completed its acquisition of Greensmith
+
+
+
Introduction

## Slide 6: The Modern Power System in the South pacific is facing Many Challenges
Renewables Penetration rates
Ramp rates and Curtailment
Less Visibility / Fluctuating Demand
Peaks shifting into evening
Aging equipment
The Case for Energy Storage
© Wärtsilä
confidential

## Slide 7: Markets for Ancillary Services are Developing Worldwide
Monetizing Energy Storage
Germany/EU
PRC > 1GW
Weekly Auction
NorthAmerica
Bilateral Agreements with various integrated utilities
CAISO
Reg Up/Reg Down
Merchant Market
United Kingdom
EFR 201MW
FFR > 1GW
4,2 year contracts
PJM
Reg A: >2GW
Reg D: > 250MW
Merchant Market
ERCOT
REM: 60MW
Demo Market
Hawaii
Ramping/Duck Curve
Bilateral Agreements
Philippines
Bilateral Agreement
Puerto Rico
MTR: RRC -> FR
All solar
Australia
FCAS: >1GW
Merchant
India
Bilateral Agreement
Thailand
Bilateral Agreement

## Slide 8: Key Markets by Region
Markets Overview
  UK
    Continued EFR/FFR & capacity deployments
  Germany
    German market led by solar self-consumption -> not our strength
    PCR market has low prices
  France
    Island tenders
  Middle East
    Solar + storage applications
  Africa
    Mining/Off-grid hybrid engine opportunities
    Solar + storage applications
  USA
    Vertically integrated utilities including storage in procurement plans for FR and T&D deferral
  Caribbean Islands
    Mining/Off-grid hybrid engine opportunities
    Solar + storage applications
  Chile, Argentina
    Mining/Off-grid hybrid engine opportunities
    Solar + storage applications
  Australia
    Grid-tied market is policy-driven at state level
    Mining/Off-grid hybrid engine opportunities
  Philippines
    Hybrid engine opportunities
    Solar + storage applications
    Frequency and Voltage regulation
Thailand
Utility drives storage test systems
South Pacific Islands
Mini Grids, Increased RE
Reactive Power & f/U stabilisation

## Slide 9
System Load Leveling
Bulk Capacity
Voltage Control
MW
10
2.5
0
-2.5
-10
⟵ Charging Capability (MW) Discharging ⟶
49.8
50.2
fn2
50.05
49.95
50
fn1
⟵∆f (–) Frequency (Hz) ∆f (+) ⟶
Storage +
Renewables
Frequency Response
Frequency Regulation via AGC
Energy storage solves multiple problems for utilities
Energy use cases
Power use cases
Balancing the Grid

## Slide 10
Frequency regulation services has many forms
Frequency services | Description | GS examples
Regulation via AGC Signal | GEMS responds to an automated generator control signal to manage grid frequency deviations. Usually measured by accuracy and energy neutrality varies by market. | Frontier, Meyersdale, Beckjord, Pomona
Autonomous Response at POI | GEMS measures frequency locally and responds proportionally according to a predetermined response envelope | Texas Waves, German PCR
Frequency Droop Control/RRC | Provide near-instant reserve power in the case of a grid fault. GEMS measures frequency locally and can either dispatch centrally from a control room or autonomously from site. | Iron Horse, PRANG
Autonomous Response at POI
Frequency Droop Control
Regulation via AGC Signal
MW
10
2.5
0
-2.5
-10
⟵ Charging Capability (MW) Discharging ⟶
49.8
50.2
fn2
50.05
49.95
50
fn1
⟵∆f (–) Frequency (Hz) ∆f (+) ⟶
f POI
1.0
F TRIG
t0
t60
t75
ESS MW
tsec
1.0 PU
Ramp Down
After 60 sec
ESS MW
POI Frequency
Balancing the Grid

## Slide 11
Renewables + Storage: A spectrum of benefits
ESS Application | Description | ESS Sizing
Frequency Response | Corrects over and under frequency | 15-30 minutes
Ramp Rate Control | Mitigates ramping at generation source | 30-45 minutes
Renewables Smoothing | Maintains approximate solar curve | 1 hour +
Renewables Firming | Creates Firm committed load shape | 2 hours +
Renewables Shifting | Shifts solar to evening hours w/ or w/o commit | 4 hours +
Renewables Firming
Ramp Rate Control
Renewables Smoothing
Renewables Shifting
Frequency Response
Energy storage enhances value of PV output through multiple paths
Power-centric application
Storage Opportunity

## Slide 12: Award of 2.4MW/2.4MWh ESS Test Bed for EMA and SP Group announced in Singapore International Energy Week (SIEW) 2017 – 23 October 2017
Singapore - ESS Test Bed Project

## Slide 13: Project Overview
Project | Singapore’s First Utility-Scale Energy Storage System
System Size | 2.4MW / 2.4MWh
Location | Site A - SP Group Punggol substation next to 206A Punggol Place, S(821206)
Battery Chemistry | Lithium Iron Phosphate
Use Cases | Ancillary Services
Scope | Full Turnkey EPC by Wärtsilä / Greensmith
Singapore - ESS Test Bed Project

## Slide 14
20MW/80MWh RESOURCE ADEQUACY / FREQ. REGULATION
Customer: AltaGas, California, USA
Type: Energy Storage System (Li-Ion)
Operating mode: Resource Adequacy
Frequency Regulation
Inverters: 20MW, Parker
Batteries: 80MWh, Samsung
Energy Management System: GEMS5
Delivered: 2016
Case Study – California (US) – Multiple Revenue Models

## Slide 15
+
Pomona Energy Center 20MW/80MWh
20MW/80MWh ESS constructed in record time
CASE STUDY
+
+
+
KEY TAKEAWAY
5 months NTP to COD!
DEPLOYMENT
20MW/80Mwh ESS
SOLUTION
Renewables integration
CLIENT PARTNER
Alta Gas

## Slide 16: Graciosa (Azores) Microgrid
Deployment details
EU funding >$20M for wind turbines, battery, & solar
5 Enercon 900 KW Wind Turbines
1 MW Solar
6MW/2.6MWh Battery
Greensmith as overall integrator
PPA based on fuel savings
Goal of 65% renewables
Renewables complete
Battery Inverters and System commissioning

## Slide 17
GEMS turns batteries
to Revenue
Grid Reliability
Renewable Integration
Micro Grids
Hybrid Engine Optimization
SCADA
Weather Forecasts
Energy Market Data
GEMS OS
Batteries
Solar
Engines
Sensors
Equipment
Solutions
External
Operation Scheduling • Peer-to-Peer Group Control • Real-time Equipment Control • Local HMI
Intelligence
Revenue Models

## Slide 18
GREENSMITH EMS - GEMS
Server
Simulator
Device Adaptor
APPS
Device Adaptor
APPS
Device Adaptor
APPS
Virtual Site
Site Controller
Fleet manager
Analyzer
Simulator

## Slide 19
Applications for
Greensmith solutions
Grid Reliability
Frequency controls
Volt/VAR control
1ary and 2ary Reserves
Distribution deferral
Peak Shifting
Load Leveling
Thermal generation optimization
Power to grid time
Spinning reserve
Grid forming capability
O&M optimization
Renewable Integration
PV Ramp Control
PV Smoothing
PV Firming and Shifting
Curtailment Capture
Capacity-based Solar PPAs
Micro grid
On grid/off grid seamless transfer
Renewables integration/ grid forming
Renewables integration
Black start
+
+
+
GEMS - ALL REVENUE MODELS

## Slide 20
FUTURE-PROOF

## Slide 21
Overview
Technology neutral.
Total flexibility.
Power electronics
Batteries

## Slide 22: Battery Chemistry for Every Application
OVERVIEW
System Power Rating (MW)
Energy Discharge Time at Rated Power
Seconds
Minutes
Hours
100 kW
1 MW
10 MW
100 MW
1,000 MW
10 kW
1 kW
UPS
Grid Support
Energy Management
Power Quality
Load Shifting
Bridging Power
Bulk Power Management
Source: EPRI and Greensmith
Peak Shaving
T&D Deferral
Load Leveling
Ramping
Energy Arbitrage
Spinning
Reserve
Frequency Regulation
Renewables
-- Wind
-- Solar
Metal Air Battery
Ni-Cd Battery
Ni-MH Battery
Lead Acid Battery
High Power Super Caps
High Power Fly Wheels
Hi Energy Super Caps
Pumped Hydro
CAES
SMES
Flow Batteries
ZrBr VRB PSB Novel Systems
NaS Battery
ZEBRA Battery
Advanced Lead Acid Battery
Lithium-ion Battery

## Slide 23: Sizing Strategy Impact on ROI
Energy Storage System DImensioning
Rapidly declining cost curves needs creative deployment strategies
Augmentation strategy allows IPP to benefit from declining cost curves and TVM
Results in 19% savings
 |  | Oversize |  | Augmentation | 
Year | Battery Price per kWh | MWh Deployed | Cash Cost | MWh Deployed | Cash Cost
2018 | $225 | 72.6 | $16,335,000 | 51.0 | $11,475,000
2019 | $170 | 0 | $0 | 0 | $0
2020 | $163 | 0 | $0 | 0 | $0
2021 | $157 | 0 | $0 | 0 | $0
2022 | $151 | 0 | $0 | 9.0 | $1,359,000
2023 | $150 | 0 | $0 | 0 | $0
2024 | $150 | 0 | $0 | 0 | $0
2025 | $150 | 0 | $0 | 0 | $0
2026 | $150 | 0 | $0 | 0 | $0
2027 | $150 | 0 | $0 | 7.0 | $1,050,000
2028 | $150 | 0 | $0 | 0 | $0
2029 | $150 | 0 | $0 | 0 | $0
2030 | $150 | 0 | $0 | 0 | $0
2031 | $150 | 0 | $0 | 0 | $0
2032 | $150 | 57.0 | $8,550,000 | 40.0 | $6,000,000
2033 | $150 | 0 | $0 | 0 | $0
2034 | $150 | 0 | $0 | 0 | $0
2035 | $150 | 0 | $0 | 0 | $0
2036 | $150 | 0 | $0 | 0 | $0
2037 | $150 | 0 | $0 | 13.0 | $1,950,000
2038 | $150 | 0 | $0 | 0 | $0
2039 | $150 | 0 | $0 | 0 | $0
2040 | $150 | 0 | $0 | 0 | $0
2041 | $150 | 0 | $0 | 0 | $0
2042 | $150 | 0 | $0 | 0 | $0
NPV @ 7% |  |  | $19,650,837 |  | $15,949,000
NPV savings from Augmentation |  |  |  | 19% | $3,701,837

## Slide 24
Thank YOU
Wilhelm van Butselaar
Area Manager Energy Storage & Integration
Wärtsilä Energy Solutions
Wilhelm.vB@wartsila.com
+65 9836 3205
Thomas Hellmich
Sales Manager Australia & Oceania
Wärtsilä Energy Solutions
Thomas.Hellmich@wartsila.com
+61 2 8822 2902