- EFL Contractor HSE Management System

- Guidelines

## EFL Contractor General Health

## And Safety Checklist

- Document No.		HSE41C06

- Contract Details

| Contractor name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contractor address: |  |  |  |  |  |
| Contractor representative: |  |  |  |  |  |
| EFL Contract Manager: | Saimone Rogoimuri & Basant Kumar |  |  |  |  |
| Contract description: | Construction of 33kV Transmission Line from Vuda PS to Proposed Naikabula SS |  |  |  |  |
| Location of works: | Vuda to Naikabula, Lautoka |  |  |  |  |
| Timing of works (approximate): |  | Start date: | 01/01/19 | End date: | 31/12/19 |

Instructions

This document is to be submitted as part of the HSE tender specification to potential bidders. They are ONLY to be submitted back to EFL upon request

## Contractor General Health and Safety Checklist

| General Health and Safety Checklist |  |
| --- | --- |
| Contract Name:…………………………………………………………………………………………… Contract Description:……………………………………………………………………………………. Contractor:…………………………………………………………………………………………………. Worksite Location:…………………………………………. Date:……………………………………. Persons Completing inspection:…………………………………………………………………… |  |
| Indicate in the following manner. √ Acceptable Х Not Acceptable N/A Not Applicable |  |
| 1. Health and Safety Systems |  |
| 1.1 OH&S policy displayed |  |
| 1.2 Accident report book |  |
| 1.3 Induction records |  |
| 1.4 Workplace inspection records |  |
| 1.5 Emergency procedures |  |
| 1.6 Training records |  |
| 1.7 Documented safe work procedures |  |
| 1.8 MSDS Available |  |
| 1.9 Health & Safety system manual |  |
| 1.10 H&S representative appointed |  |
| 1.11 Management safety representative appointed |  |
| 1.12 Contract risk assessment available |  |
| 1.13 Contract health and safety plan available |  |
| 2. Housekeeping |  |
| 2.1 Work areas free from rubbish and obstruction |  |
| 2.2 Surfaces safe and sutiable |  |
| 2.3 Free from slip/trip hazard |  |
| 2.4 Floor openings covered |  |
| 2.5 Stock/material stored safely |  |
| AISLES |  |
| 2.6 Unobstructed and clearly defined |  |
| 2.7 Adequate lighting |  |
| 2.8 Vision at corners |  |
| 2.9 Wide enough |  |
| 3. Electrical |  |
| 3.1 No broken pugs, sockets, switches |  |
| 3.2 No frayed or defective leads |  |
| 3.3 Power tools in good condition |  |
| 3.4 No work exposed near live electrical equipment |  |
| 3.5 Tools and leads inspected and tagged. |  |
| 3.6 No strained leads |  |
| 3.7 No cable trip hazards |  |
| 3.8 Switches/circuits defined |  |
| 3.9 Lock-out procedures in place |  |
| 3.10 Earth leakage system used |  |
| 3.11 Start/Stop switches clearly defined |  |
| 3.12 Switchboard secured |  |
| 3.13 Appropriate fire fighting equipment |  |
| 4 Mobile Plant & Equipment |  |
| 4.1 Plant and equipment in good condition |  |
| 4.2 Daily safety inspection procedure/checklists |  |
| 4.3 Fault reporting/rectification system used |  |
| 4.4 Operators trained and licensed |  |
| 4.5 Warnings and instructions displayed |  |
| 4.6 Warning lights operational |  |
| 4.7 Reversing alarm operational |  |
| 4.8 Satisfactory operating practices |  |
| 4.9 Fire extinguisher |  |
| 4.10 Tyres satisfactory |  |
| 4.11 SWL of lifting or carrying equipment displayed |  |
| 4.12 Safe transportation system of mobile plant |  |
| 5. Machinery and Workbenches |  |
| 5.1 Adequate workspace |  |
| 5.2 Clean and tidy |  |
| 5.3 Free from excess oil and grease |  |
| 5.4 Adequately guarded |  |
| 5.5 warnings or instructions displayed |  |
| 5.6 Emergency stop appropriately placed and clearly identifiable |  |
| 5.7 Operated safely and correctly |  |
| WORKBENCHES |  |
| 5.8 Clear of rubbish |  |
| 5.9 Tools in proper place |  |
| 6. Hazardous Substance |  |
| 6.1 Stored appropriately |  |
| 6.2 Containers labelled correctly |  |
| 6.3 Adequate ventilation/exhaust system |  |
| 6.4 Protective clothing/equipment available/used |  |
| 6.5 Personal hygiene – dermatitis control |  |
| 6.6 Waste disposal procedure |  |
| 6.7 Material Safety Data Sheet provided |  |
| 6.8 Chemical handling procedures followed |  |
| 6.9 Chemical register developed |  |
| 6.10 Appropriate emergency/first-aid equipment – shower, eye bath, extinguishers |  |
| 6.11 Hazchem signing displayed |  |
| 7. Welding |  |
| 7.1 Gas bottles secured to trolley |  |
| 7.2 Welding fumes well ventilated |  |
| 7.3 Fire extinguisher near work area |  |
| 7.4 Only flint gun used to light torch |  |
| 7.5 Flash back spark arrestors fitted |  |
| 7.6 Vision screens used for electric welding |  |
| 7.7 LPG bottles within 10 years stamp |  |
| 7.8 PPE provided and worn |  |
| 7.9 Hot Work permit system used. |  |
| 8. Excavations |  |
| 8.1 Shoring in place and in sound condition |  |
| 8.2 Excavation well secured |  |
| 8.3 Signage displayed |  |
| 8.4 Clear and safe access around excavation |  |
| 8.5 Separate access and egress points from excavation |  |
| 8.6 Safe work procedures in place |  |
| 9. Prevention of falls |  |
| 9.1 All work platforms have secure handrails, guarding or fence panels |  |
| 9.2 Harness and lanyards or belts provided |  |
| 9.3 All floor penetrations covered or barricaded |  |
| 9.4 Unsafe areas signposted and fenced |  |
| 9.5 Safe work procedure in place |  |
| 10. Stairs, steps and landings |  |
| 10.1 No worn or broken steps |  |
| 10.2 Handrails in good repair |  |
| 10.3 Clear of obstructions |  |
| 10.4 Adequate lighting |  |
| 10.5 Emergency lighting |  |
| 10.6 Non-slip treatment/treads in good condition |  |
| 10.7 Clear of debris and spills |  |
| 10.8 Used correctly |  |
| 11. Ladders |  |
| 11.1 Ladders in good condition |  |
| 11.2 Ladders not used to support planks for working platforms |  |
| 11.3 Correct angle to structure 1:4 |  |
| 11.4 Extended 1m above top landing |  |
| 11.5 Straight or extension ladders securely fixed at top |  |
| 11.6 Metal ladders not used near live exposed electrical equipment |  |
| 12. Personal Protection |  |
| 12.1 Employee provided with PPE |  |
| 12.2 PPE being worn by employee |  |
| 12.3 Sun protection provided (cream/glasses) |  |
| 12.4 Correct signage at access points |  |
| 13. Manual Handling |  |
| 13.1 Mechanical aids provided and used |  |
| 13.2 Safe work procedures in place |  |
| 13.3 Manual handling risk assessment performed |  |
| 13.4 Manual handling controls implemented |  |
| 14. Workplace Ergonomics |  |
| 14.1 Workstation and seating design acceptable |  |
| 14.2 Ergonomic factors considered in work layout and task designs |  |
| 14.3 Use of excessive force and repetitive movement minimised |  |
| 14.4 Appropriate training provided |  |
| 15 Material Storage |  |
| 15.1 Stacks stable |  |
| 15.2 Heights correct |  |
| 15.3 Sufficient space for moving stock |  |
| 15.4 Materials stored in racks/bins |  |
| 15.5 Shelves free of rubbish |  |
| 15.6 Floors around stacks and racks clear |  |
| 15.7 Drums checked |  |
| 15.8 Pallets in good repair |  |
| 15.9 Heavier items stored low |  |
| 15.10 No danger of falling object |  |
| 15.11 No sharp edges |  |
| 15.12 Safe means of accessing high shelves |  |
| 15.13 Racks clear of lights/sprinklers |  |
| 16. Confined Spaces |  |
| 16.1 Risk assessment undertaken |  |
| 16.2 Communication and rescue place in action |  |
| 16.3 Safety equipment in good working condition |  |
| 16.4 Suitable training provided to employees |  |
| 16.5 Confined space entry permit used |  |
| 17. Lasers |  |
| 17.1 Operator has laser operator licence |  |
| 17.2 Signage displayed |  |
| 17.3 Laser not used in a manner to endanger other persons |  |
| 18 Demolition |  |
| 18.1 Risk assessment undertaken in advance |  |
| 18.2 Access prevented to demolition area |  |
| 18.3 Overhead protection in place |  |
| 18.4 Protection of general public |  |
| 18.5 Safe work procedures |  |
| 19. Public Protection |  |
| 19.1 Appropriate barricades, fencing, boarding, in place |  |
| 19.2 Signage in place |  |
| 19.3 Suitable lighting for public access |  |
| 19.4 Footpath clean and free from debris |  |
| 19.5 Dust and noise controls in workplace |  |
| 19.6 Site access controlled |  |
| 19.7 Traffic control procedures place |  |
| 19.8 Public complaints actioned. |  |
| 20. Amenities |  |
| 20.1 Washrooms clean |  |
| 20.2 Toilet clean |  |
| 20.3 Lockers clean |  |
| 20.4 Meal rooms clean and tidy |  |
| 20.5 Rubbish bins available - covered |  |
| 21. First Aid |  |
| 21.1 Cabinets and contents clean and orderly |  |
| 21.2 Stocks meet requirements |  |
| 21.3 First aiders names displayed |  |
| 21.4 First aiders location and phone numbers |  |
| 21.5 Qualified first aiders |  |
| 21.6 Record of treatment and of supplies dispensed |  |
| 22 Lighting |  |
| 22.1 Adequate and free from glare |  |
| 22.2 Lighting clean and efficient |  |
| 22.3 Windows clean |  |
| 22.4 No flickering or inoperable lights |  |
| 22.5 Emergency lighting system |  |
| 23 Fire Control |  |
| 23.1 Extinguishers in place |  |
| 23.2 Fire fighting equipment serviced/tagged |  |
| 23.3 Appropriate signing of extinguishers |  |
| 23.4 Extinguishers appropriate to hazard |  |
| 23.5 Emergency exit signage |  |
| 23.6 Exit doors easily opened from outside |  |
| 23.7 Exit pathways clear of obstruction |  |
| 23.8 Alarm/communication systems adequate |  |
| 23.9 Smoking/naked flame restriction observed |  |
| 23.10 Minimum quantities of flammable at worksite |  |
| 23.11 Flammable storage procedures |  |
| 23.12 Emergency personnel identified and trained |  |
| 23.13 Emergency procedures documented - issued |  |
| 23.14 Emergency telephone numbers displayed |  |
| 23.15 Alarms tested |  |
| 23.16 Trial evacuation conducted |  |
| 23.17 Personnel trained in use of fire fighting equipment |  |