## Slide 1
Driving Energy Affordability
Distributed Intelligence and the Active Grid
Pacific Power Association Conference
August 2, 2017
Notes: Slide 1 (Cover)
Welcome, Introduction. What’s my job??
Great to be here in Samoa – what a beautiful place!!
Itron – might thing of smart meters. But really, how to we drive improvement in the business:
Operations
Customers
Strategy

## Slide 2: Global drivers
Notes: So when we talk about smart metering and grid modernization to keep energy affordable – there’s s
some key levers we can pull to keep energy affordable.
Operational improvements
DER integration
Loss Reduction
Consumer engagement – HEM, Load control, prepayment.

## Slide 3: Smart Metering Cost Reduction Benefits
Exceeding Business Case Expectations
customer service transactions automated (98.7 percent)
Saves Centerpoint customers $20 million USD annually
electricity theft reduction (875 GWh to 175 GWh)
13
MILLION
80%
TRANSACTIONS
AUTOMATED
THEFT REDUCTION
reduction in annual meter reading and customer operations costs ($3.6 million USD)
51%
COST REDUCTION
10-49%
Range of customer energy savings across various programs incl, rate choice, smart meters, in-home technology
ENERGY SAVINGS
Notes: Talk about the examples …

## Slide 4: Technology Evolution
Meter
1-way communication
Meter centric
Advanced meter
2-way communication
Big data
Network centric
AMI meter as sensor
2-way communication
Bigger data
Back office centric
Analysis and action at the edge
M2M learning
Adaptive communications
The right data
App centric
AMR
AMI
SMART GRID
ACTIVE GRID
Manual meter reading
OpenWay
AUTOMATION
OPTIMIZATION
TRANSFORMATION
Notes: Key Message: The Active Grid is much more than smart metering, it’s more than smart grid. It’s where smart grid and the Internet of Things come together. Openway Riva is the foundation for AMI and more that is ready for apps that are available in the future. It allows you to build out your system when you are ready.
Supporting points:
• The Active Grid applies distributed intelligence, M2M learning, peer-to-peer communications to solve problems locally and quickly – close to the source.
• The Active Grid brings together multiple communications to provide high performance AND assured connectivity
• The Active Grid solves the Big Data/Big Pipe dilemma by running apps on edge devices and eliminating the need to continually transport rafts of data back over the network for back office analysis.
• Even if your immediate priority is currently AMI, we can provide the foundation and platform for expanded grid and smart city/IoT applications in the future.

## Slide 5
OPEN-APPLICATION ENVIRONMENT
Support for multiple Communication and Application protocols
Smart metering
Distribution Automation
Load Control
Demand Response
Home Area Network
COMPUTING POWER AT THE EDGE
  A smartphone or PC on every meter and grid device
  A unified software platform running multiple apps, protocols
  Access to and continuous analysis of 1-second data in the meter
NEW COMMUNICATION CAPABILITIES
Multi-media (RF, PLC, Cellular, Wi-Fi)
Multi-modulation
Peer-to-peer communication
Local broadcast
The intelligence to choose among them
LOCATION AWARENESS
On the distribution system
Transformer
Feeder
Phase
Relation to other meters/device
Continuously updated
Enabling The active grid
Notes: So what is required to do this?
First: Measurements already exist today. The meters today are very advance and are able to take measurements “ at the second level… near real-time”. And when you have the right technology in place – the utility can take action based on that near real-time information.
What else is needed:
Computing power at the Edge:
Have a PC quality processor in the devices at the edge: Processors are quite affordable at this point in time. So Processor can be deployed in an industrial application like in a meter – without increasing the price of the device too much.
So by using the technology that is already exists today – putting a processor in a meter (device) so to run software environment on the device. Where software applications can be downloaded on the meter/devices – so that it can do something with all of the measurements that are being taken today.
High resolution of data: “near real-time data”
2) New Communications Capability:
To unlock the advance benefits that DI provides – the devices are to be able to communicate with each other “reliably” on the same network.
ACT: Multi-media & Multi-modulation- combined solution – RF & PLC).
  Single network solution incorporates two communications technologies - RF and PLC - on the same chipset that is completely standards based
  Devices Continuously monitors network for most reliable and fastest communication path
  Devices dynamically self-selects best communication path, from available media and modulation schemes
  Assured connectivity at highest available speed
  Solves key connectivity and deployment challenges including high rise buildings, underground meter vaults, changing RF conditions and low density environments
The devices themselves determine which devices in their neighborhood they can speak to, which links they can create either through PLC/ RF and modulation. Which link at any point in time – reliably and high performance enough to get them to the back office and talk to their peers most effectively.
P2P: Having devices communicate with their peers, in a region and not just devices on the same transformer or same feeder.
Local Broadcast: another way the devices can speak to each other local. Local broad casts allows a device to speak to many devices at the same time.
A “one size fits all” communicate solution is not going to unlock the advance benefits and allow for P2P communication – which is key to the distributed intelligence capability. A multi-link, multi-approach provides the reliability performance – all on the ipV6 network.
3) Location Awareness: the devices are able, by speaking with their neighbors in their mesh environment and figure out very quickly
What feeder they are on
Transformer they are under
What phase they are on
By talking to their neighbors – the device can identify who else is on the same transformer, feeder and phase.
So they know where “they are” in terms of the topology of the network as well as they know where their neighbors are in terms of the topology of the network. Having this knowledge is very powerful as it enables to makes decisions and take action. The devices have local awareness in mind.
4) Open-Application Environment:
Having an standardized open environment platform following standards or even open source. Standards based, multi-application platform with plug-and-play interoperability for grid devices and applications
This attracts an ecosystem of partners building solutions and applications that can be deployed on that platform.

## Slide 6: Active Grid OPERATIONAL USE CASES
Analysis and action in the right places
Load Forecasting
Reliability Reporting
Phase Connectivity
Transformer Connectivity
Network Health
Distribution Asset Health
Real-time Load disaggregation
Theft Detection
Outage detection
Distributed generation/Load control
High Impedance detection
Active transformer load management
Voltage management
Locational awareness (feeder, phase, transformer)
NETWORK
EDGE IoT DEVICES
Applying operational data where it is best utilized for the most valuable outcome
BACKOFFICE
DISTRIBUTED
CENTRALIZED
Real-time Load disaggregation
Theft Detection
Distributed generation/Load control
Active transformer load management
Voltage management
Notes: Itron’s philosophy for data analytics is to analyze the operational data where it can be best utilized to create the most valuable outcome for the specific utility operational problem or issue. Sometimes this is in the backoffice; sometimes at the network level, and sometimes at the local device level.
We will be working with Cisco and other partners to incorporate Network Use Cases at the CGR level

## Slide 7
Analysis and detection based on real time analysis of power flows and voltage fluctuation; not anecdotal alarms
Increases diversion detection accuracy by 300 percent or more
Identifies location, type of theft and magnitude to prioritization of field investigation resources
Elimination of false positives
More accurate than transformer-level metering diversion detection solutions
A NEW APPROACH TO DIVERSION DETECTION & NON-TECHNICAL LOSS REDUCTION

## Slide 8: Managing DER Penetration
Very High DER Adoption
Multi-party Transactions & Market Operations
Moderate to High Level of DER Adoption
DER Integration & Optimization; Dist. Platform Development
Low DER Adoption
Smart Grid Investments Aging Infrastructure Refresh
Customer Adoption
Stage 2: DER Integration
Stage 3: Distributed Markets
Stage 1: Grid Modernization
Distribution System
DER LEVEL
TIME

## Slide 9
AVISTA UTILITIES: SHARED ENERGY ECONOMY
Viewing DER as business opportunity rather than threat
Coordinated optimization of both utility and customer-owned assets; efficiency gains and “economies of scope”
Project components: DERs (solar, storage, Evs, DR) Microgrid, Advanced Metering with Distributed Intelligence
Respond to changing resource availability, grid conditions and customer demand
Value to both utility and customers in the form of lower and avoided costs
©2017 ITRON CONFIDENTIAL PROPRIETARY
9
Driving Energy Affordably |
Notes: Itron has quietly become the market leader in remote solar monitoring and measurement. We are already engaged with many 3rd party owned systems providing solar PV metering services for almost 50,000 solar installations.
We have a solar gate product that interfaces with the solar converter to do monitoring and control.
We can use edge applications to interface the meter on premise with the inverter to better manage energy

## Slide 10
305K MWh of solar and wind energy in California was “curtailed” in 2016; almost double the amount lost in 2015
Backfeed overloading utility transformers
Solution: Local Power Pools behind the transformer
  Peer to peer communications enables devices to communicate, negotiate prices and real time transactions
  Edge processing and location awareness
  Blockchain may provide supporting technology
  Customer interface: low friction, based on preferences
Excess distributed generation is put to use locally
Utility equipment better protected
New service and revenue opportunity for the utility
©2017 ITRON CONFIDENTIAL PROPRIETARY
10
ENABLING LOCAL POWER POOLS
Driving Energy Affordably |

## Slide 11
Move more intelligence to the edge of the network
Analysis, decisions, action will need to take place locally and more quickly
Understand your customers’ expectations
DER can either be a threat or an opportunity
Move from selling KWh to experiences/outcomes
Operational efficiency and non-technical loss reduction is low hanging fruit
Distribution system optimization
Customer engagement, DER, prepay, adding new services
Trailblazer in the room: Tonga Power Limited
©2017 ITRON CONFIDENTIAL PROPRIETARY
11
CLOSING THOUGHTS
Driving Energy Affordably |

## Slide 12
tim.wolf@itron.com