# **Appendix**

## **Price Schedule**

All tenderers are required to complete and submit a copy of the price schedule with their bid submissions. EFL required the bidders to provide the prices in CIF basis.

|  |  |  |  |
| --- | --- | --- | --- |
| **No.** | **Stock Code** | **Item Description** | **Price (CIF)** |
| 1 | I03956 | Earth Wire – SC/GZ |  |

## **Technical Data – Earth Wire**

All tenderers are required to complete and submit a copy of this form with their bid submissions.

|  |  |  |  |
| --- | --- | --- | --- |
| **Particulars** | **Unit** | **Requirements** | **Bidders Response** |
| Manufacturer’s name |  |  |  |
| Place of manufacture |  |  |  |
| Origin of materials used for manufacturing |  |  |  |
| Type test certificates provided (Yes/No) |  |  |  |
| Number of strands | No. | 7 |  |
| Diameter of each strand | mm | 2.75 |  |
| Nominal overall diameter | mm | 8.3 |  |
| Cross sectional area | mm2 | 41.6 |  |
| Nominal mass | kg/km | 328 |  |
| Minimum calculated breaking load | kN | 49 |  |
| Resistance of earth wire per unit meter | Ω/m | Bidder to state |  |
| Type of grease |  | Bidder to state |  |
| Drop point of grease | oC | Bidder to state |  |
| Safety datasheet for grease included | Yes/No | Bidder to state |  |
| **Packaging Details:** |  |  |  |
| Drums used |  | Metal |  |
| Length of earth wire per drum | m |  |  |
| Mass of drum | kg |  |  |
| Gross weight of earth wire and drum | kg |  |  |

**Name of Tenderer:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Signature of Tenderer:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Date:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

## **Submission Requirements**

All tenderers are required to complete and submit a copy of the submission requirements with their bid submissions.

|  |  |
| --- | --- |
| **Requirements** | **Response from Bidders** |
| Completed technical details (Clause 15.2) (Yes/No) |  |
| Witnessing included as part of bid. (Yes/No) |  |
| Validity of bid (180 days required) (Yes/No) |  |
| Payment conditions. |  |
| Delivery Term. (CIF preferred) |  |
| Price review period after award of tender. (months) |  |
| Bidders company profile outlining financial, technical and production capabilities. |  |
| Detailed reference list of customers already using equipment offered during the last 5 years with particular emphasis on units of similar design and rating. |  |
| Quality management system used in the production of wires, attached certificate. |  |
| Minimum warranty period from time of acceptance of wires. |  |
| Typical installation manual for wires. |  |
| Disposal method after service life. |  |
| Complete dimensional drawing. |  |
| List of Type test certificates provided. (As per Clause 6.1) |  |
| Sample routine test certificates. |  |

**Name of Tenderer:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Signature of Tenderer:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Date:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_