## ASPA20.048
PV Interconnection/Distribution Line Project
No. | Description | Gen Specs/Cat No. | Qty | Unit | QTY | UNIT COST | TOTAL
SECTION 1: Underground Cables
1 | 15KV Underground cable, 350MCM(kcMil), Cu. Str, TR-XLPE, 133% insulation level, 1/3 Concentric Neutral. Preferred steel reel | refer to Southwire MV cables [note: 2,500ft per reel(steel)] | 12,500ft | ft
SECTION 2: Electrical Vaults/Covers-Concrete
2.1 | 504-LA Oldcastle Precast Vault-[ | Oldcastle Precast | 5 | ea
2.2 | Optional Top Section- Round Access No. 55-42C Frame & Cover | Oldcastle Precast | 5 | ea
2.3 | 774-LA Oldcastle Precast Vault | Oldcastle Precast | 8 | ea
2.4 | Optional Top Section- Round acess opening No.77-42C Frame & Cover | Oldcastle Precast | 8 | ea
SECTION 3: Underground elbows & misc item
3.1 | 600 Series Elbow with test point Amps Deadbreak elbows Kit- For 350kcMIl: Part#K656LRJ0400 [ABB-Elastimold Catalog, Underground accessories] | ABB/Elastimold, k656LRJ0400 | 54 | ea
3.2 | 600 Amps cable termination for 350mcm/kcMil. Part#: R2T15151NO300 [ABB-Elastimold Catalog, Underground accessories] | ABB/Elastimold | 12 | ea
3.3 | 2- Point Junction,15kV voltage class | ABB/Elastimold, K650J2 | 24 | ea
3.4 | Rod- 3/4" x 8' copper ground | J8348 Josyln | 13 | ea
3.5 | Clamp- (bronze)for 3/4" ground rod | J8348 Josyln | 13 | ea
3.6 | Tape, electrical Black- 3M |  | 20 | ea
3.7 | Tape, electrical Red-3M |  | 20 | ea
3.8 | Tape, electrical White- 3M |  | 20 | ea
3.9 | Tape, electrical Blue- 3M |  | 20 | ea
3.1 | Tape, Insulation Putty 1-1/2"x60"- 3M |  | 20 | ea
CIF PAGO PAGO
TOTAL

## UG Cables-350mcm (hidden)
PV Interconnection/Distribution Line Project
Item no. | Description | Gen Specs/Cat No. | Qty | Unit
1 | 15KV Underground cable, 350MCM(kcMil), Cu. Str, TR-XLPE, 133% insulation level, 1/3 Concentric Neutral. Preferred steel reel | refer to Southwire MV cables [note: 2,500ft per reel(steel)] | 12,500ft | ft

## Electrical Vaults (hidden)
PV Interconnection/Distribution Line Project
Item no. | Description | Gen Specs/Cat No. | Qty | Unit
1 | 504-LA Oldcastle Precast Vault | Oldcastle Precast | 5 | ea
2 | Optional Top Section- Round Access No. 55-42C Frame & Cover | Oldcastle Precast | 5 | ea
3 | 774-LA Oldcastle Precast Vault | Oldcastle Precast | 8 | ea
4 | Optional Top Section- Round acess opening No.77-42C Frame & Cover | Oldcastle Precast | 8 | ea

## UG misc items (hidden)
PV Interconnection/Distribution Line Project
Item no. | Description | Gen Specs/Cat No. | Qty | Unit
1 | 600 Series Elbow with test point Amps Deadbreak elbows Kit- For 350kcMil: Part#K656LRJ0400 | ABB/Elastimold, K656LRJ0400 | 42 | ea
2 | 600 Amps cable termination for 350mcm/kcMil. Part#: R2T15151NO300 | ABB/Elastimold-R2T15151NO300 | 12 | ea
3 | 2- Point Junction,15kV voltage class | ABB/Elastimold, K650J2 | 24 | ea
4 | Rod- 3/4" x 8' cu. ground | J8348 Josyln | 13 | ea
5 | Clamp- (bronze)for 3/4" ground rod | J8348 Josyln | 13 | ea
6 | Tape, electrical Black |  | 20 | ea
7 | Tape, electrical Red |  | 20 | ea
8 | Tape, electrical White |  | 20 | ea
9 | Tape, electrical Blue |  | 20 | ea
10 | Tape, Insulation Putty 1-1/2"x60" |  | 20 | ea