|  |  |  |
| --- | --- | --- |
| **ANNEX 1 – BID SUBMISSION FORM & BILL OF QUANTITY** | | |
| **Ifalik & Lamotrek Solar PV Microgrid Project** | | **Quantity of Elements** | | **Price** | |
|  | **Description** | **Total** | **Element** | **Unit Cost** | **Total Cost** |
| 1 | **Arrays mounting system** compatible with concrete foundations & concrete supports built by YSPSC on flat sites. A total of “140 PV modules of 580Wp ULICA SOLAR data sheet as follows in this document” will be divided into 14 sub- arrays. Shall include the concrete foundation bolts (concrete supports bolts). A complete list of components to be supplied by the supplier will be provided with the bid.  **To be supplied:**  **Aluminum structure for 14 Arrays as drawn**  **MUST BE LOW ON THE GROUND ON CONCRETE FOUNDATIONS, SEE TWO PICTURES BELOW** | 14 Arrays of 10 Modules each | Diagram of 10 modules each array |  |  |
|  | | | **Subtotal** |  |  |
| **Freight Cost** |  |  |
| **Grand Total** |  |  |