|  |  |  |
| --- | --- | --- |
| **ANNEX 3 – BID SUBMISSION FORM & BILL OF QUANTITY** | | |
| **Ifalik & Lamotrek Solar PV Microgrid Project** | |  | | **Price** | |
| **ACCESSORIES** | **Specifications** | **Quantity** | | **Unit Cost** | **Total Cost** |
| Marking tape type Electape (rolls) | <https://www.dropbox.com/scl/fi/o69ogkeg5wx8l8mkkp73j/10921955_1_P_PROD_SPEC_technicalsheet20000undergroundmarkingtapewarningelectricalcablebeloworange500mx150mmx008mmaubiz351065.pdf?rlkey=asd0zo7f41dhyk0uh7ycaorj2&st=ffss9vom&dl=0> | 11,100 | Meter |  |  |
| LV **Distribution** Pillar & Base | <https://plp.com/au/energy/underground/urd-turret-series-eleven> |  |  |  |  |
| URD Turret - series Eleven - High density injection molded polyethylene turrets and bases including 4D Head bolts | <https://www.dropbox.com/scl/fi/2j1dkg37xftoy3ulgihim/product_388.pdf?rlkey=b63y4zsdyn71ngqid58kmj6u3&dl=0> |  |  |  |  |
| UT11G |  | 80 | u |  |  |
| UEC11MGE |  | 80 | u |  |  |
| LV **Service** Pillar & Base | | | | | |
| URD Turret - series Eleven - High density injection molded polyethylene turrets and bases including 4D Head bolts |  |  |  |  |  |
| UT11SG |  | 80 | u |  |  |
| UEC11MGE |  | 80 | u |  |  |
| S-Bar Spanner - Long - 780mm long tool for all DHB D head bolts | <https://www.dropbox.com/scl/fi/zk6gr0lv89xw4yisifirn/urdv.pdf?rlkey=0zlozb7lzo98hgd5capoub0yb&dl=0> | 6 | u |  |  |
| LV Termination Shrouds Types SHDL 90 | <https://www.dropbox.com/scl/fi/czif69eghg28rfk5n7kpo/underground.pdf?rlkey=qgy0w2pr2d4401t47kgrw4rey&dl=0> | 500 | u |  |  |
| Terminal Lugs, bolts, nuts, washers |  |  |  |  |  |
| Suitable for AWG 4/0 copper - Lugs - bolts/nuts/washers |  | 500 | u |  |  |
| Suitable for AWG 2 copper - Lugs - bolts/nuts/washers |  | 400 | u |  |  |
| Service Terminal Blocks - Fully insulated 6 hole tunnel connectors | <https://www.cabac.com.au/p/electrical-power-connectivity/pillars-terminations-accessories/pillar-terminations/tb506> | 160 | u |  |  |
| Earth Stakes for LV Distribution Pillars | CER1314, Earth rod domestic 1300MM X 14MM | 150 | u |  |  |
|  | | **Subtotal** | |  | |
| **Freight Cost** | |  | |
| **Grand Total** | |  | |