## Cover Page
SOLOMONPOWER
ENERGISING OUR NATION
P.O. BOX 6
HONIARA
SOLOMON ISLANDS
| TELEPHONE: (677) 38596/30495 |  | FACSIMILE: (677) 39472
BILL OF QUANTITIES
Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project
SOLOMON POWER
2022-07-12

## Summary
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Summery - OPGW PROJECT
Item | Description | Amount
1 | Preliminary and General | 0
2 | Materials | #REF!
3 | Works | 0
Total Cost for 1.0 Preliminary & General |  | 0

## P&G OPGW & ADSS
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Preliminary and General - OPGW & ADSS PROJECT
Item | Description | Unit | Quantity | Rate | Amount
1 | Preliminary and General
1.1 | Insurances
1.1.1 | Performance Security | LS | 1
1.1.2 | Advance Payment Guarantee | LS | 1
1.1.3 | Insurance Policies | LS | 1
1.2 | Surveys
1.2.1 | Confirmatory survey | LS | 1
1.2.2 | As-built survey (for as-built drawings) | LS | 1
1.3 | Establishment
1.3.1 | Contractor's Establishment - Mobilisation
a) | Installation and upkeep of site offices, first aid stations and crib rooms in location(s) determined by the Contractor to optimise the execution of the Works | LS | 1
b) | Contractors Laydown Area | LS | 1
c) | Plant, vehicles & equipment | LS | 1
d) | Materials | LS | 1
1.3.2 | Contractor's Maintenance
a) | Facilities and Contractor's Laydown Area. | Months | 12
b) | Plant, vehicles & equipment | Months | 12
c) | Disposal of Solid Waste | LS | 1
1.3.3 | Contractor's Disestablishment - Demobilisation
a) | Facilities and Contractors Laydown Area | LS | 1
b) | Plant, vehicles & equipment | LS | 1
1.4 | Occupational Health & Safety (OHS)
1.4.1 | Prepare and submit and maintain OHS plan that is consistent with the General Conditions of Contract including all briefing to site personnel and non-escorted visitors. Implement, manage, revise plan for the duration of the Works. | LS | 1
1.4.2 | Comply with the Solomon Power Contractors Site Safety Rules. | LS | 1
1.4.3 | Prepare and submit and implement all aspects of the occupational health & safety plan in accordance with General Conditions of Contract for staff and personnel. | LS | 1
1.5 | Construction Management (CM)
1.5.1 | CMP (General)
a) | Contract Management Plan (CMP) - General | LS | 1
1.5.3 | Quality
a) | Quality Management Plan (QMP) | LS | 12
b) | Implement, review, update QMP | Months | 12
1.5.4 | Programme
a) | Programme for Works | LS | 12
b) | Implement, review, update Programme for Works as required (min freq. 1/month) | Months | 12
1.5.5 | Records
a) | Monthly Progress Reports | Months
b) | As-built Dwgs | LS | 1
Total Cost for 1.0 Preliminary & General |  |  |  |  | 0

## Materials OPGW
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Materials - OPGW PROJECT
Item | Material Description | Unit | Quantity | Rate | Import Taxes and Duties | Amount
OPGW Materials
2 | New Materials
2.1.1 | OPGW, 24F, supply to Honiara depot | km | 10.1 |  |  | 0
2.1.2 | OPGW Suspension Assembly | Assembly | 19 |  |  | 0
2.1.3 | OPGW Strain Assembly | Assembly | 60 |  |  | 0
2.1.4 | OPGW Insulated Strain Assembly | Assembly | 5 |  |  | 0
2.1.5 | Triangular yoke plate, 70mm spacing, 70kN, 16mm | Each | 3 |  |  | 0
2.1.6 | OPGW Joint box, coiling bracket & support cleats | Set | 6 |  |  | 0
2.1.7 | Vibration Dampers | Each | 264 |  |  | 0
2.1.8 | O&M spares - OPGW (3.5km) and fittings (10%) | Set | 1 |  |  | 0
2.1.9 | OPGW Earth Peak - Suspension | Assembly | 17 |  |  | 0
Total Cost for 2.0 Materials | [5 empty] | 0

## Materials ADSS 01
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Materials - ADSS PROJECT
Item | Material Description | Unit | Quantity | Rate | Import Taxes and Duties | Amount
LUNGGA POWER STATION TO HENDERSON SOLAR FARM - ADSS Materials
3.001 | Prysmian SM@RTSPAN (F(2-144) AD150 FAL4/KE) (Overhead Section) | m | 5313
3.002 | Prysmian SM@RTCORE (F(12-144)_LTD FTL4/EP1) (Underground Section) | m | 290
3.003 | Prysmian LONG SPAN (Overhead Section) | m | 1367
3.004 | HIGH DENSITY PVC ORANGE CONDUIT OD 50mm (Underground Section) | m | 1573
3.005 | 19mm STAINLESS STEEL BAND (EPASTRAP) (30m PER ROLL) | box | 5
3.006 | 19mm GRADE 304 STAINLESS STEEL BUCKLES (100 PER BOX) |  | 2
3.007 | EPASTRAP TOOL |  | 2
SK-01 - SUSPENSION CLAMP ASSEMBLY
Banded
3.008 | FIBERLIGN SUSPENSION CLAMP |  | 4
3.009 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 7
3.01 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 7
3.011 | 16mm GALV. HEAVY DUTY HOOK PLATE |  | 4
3.012 | 8kN WEAK LINK |  | 2
Bolted
3.013 | FIBERLIGN SUSPENSION CLAMP |  | 45
3.014 | M16X300mm HOOK BOLT, M16 NUT x 2, M16 WASHER x 2 |  | 45
3.015 | 8kN WEAK LINK |  | 6
SK-02 - SHORT SPAN TENSION ASSEMBLY
Banded
3.016 | FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 16
3.017 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 33
3.018 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 33
3.019 | 16mm GALV. HEAVY DUTY HOOK PLATE |  | 17
3.02 | CABLE ABRASION PROTECTOR |  | 9
Bolted
3.021 | FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 20
3.022 | M16X300mm EYE BOLT |  | 11
3.023 | M16 EYE NUT |  | 11
3.024 | M16 WASHER |  | 21
3.025 | CABLE ABRASION PROTECTOR |  | 11
3.026 | FORMED WIRE DEADEND, EXTENSION LINK, DEAD-END COMPONENT. STRUCTURAL REINFORCING ROD |  | 1
SK-03 - CABLE STORAGE BRACKET
Banded
3.027 | FIBERLIGN CABLE STORAGE BRACKET |  | 4
3.028 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 7
3.029 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 7
3.03 | DOWNLEAD CUSHION CLAMP (BANDED) |  | 16
3.031 | STAINLESS STEEL STRAPPING 9.5mm |  | 31
3.032 | CABLE ABRASION PROTECTOR |  | 7
Bolted
3.033 | FIBERLIGN CABLE STORAGE BRACKET |  | 4
3.034 | M16X350mm BOLT |  | 5
3.035 | M16 WASHER |  | 9
3.036 | M16 NUT |  | 9
3.037 | DOWNLEAD CUSHION CLAMP (WOOD BOLTED) |  | 17
3.038 | CABLE ABRASION PROTECTOR |  | 9
SK-04 - SPLICE ENCLOSURE
3.039 | COYOTE ONE DOME ENCLOSURE (2-ENTRY) |  | 4
3.04 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 9
3.041 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 9
3.042 | COYOTE ONE POLE/WALL MOUNTING BRACKET KIT |  | 4
3.043 | LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 5
3.044 | 6 HOLE BOBBIN KIT |  | 4
SK-05 - TOWER ADSS CONNECTION
3.045 | M20 SHACKLE 120kN |  | 2
3.046 | LONG SPAN - FORMED WIRE DEADEND, EXTENSION LINK, DEAD-END COMPONENT. STRUCTURAL REINFORCING ROD |  | 6
SK-11 - TELECOMMUNICATION PIT DETAILS
3.047 | POLYMER CONCRETE TELECOMMUNICATIONS PIT |  | 2
3.048 | POLYMER CONCRETE RISER - LOCKING |  | 2
3.049 | GALVANISED STEEL COVER - PADLOCKED |  | 2
3.05 | COYOTE ONE DOME ENCLOSURE (2-ENTRY) |  | 2
3.051 | 50mm COMMS BELL MOUTH |  | 4
3.052 | LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 2
3.053 | 6 HOLE BOBBIN KIT |  | 2
SK-14 - UGOH TRANSITION ASSEMBLY (TYP)
3.054 | FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 2
3.055 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 5
3.056 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 5
3.057 | 16mm GALV. HEAVY DUTY HOOK PLATE |  | 2
3.058 | STAINLESS STEEL STRAPPING 9.5mm |  | 33
3.059 | FIBERLIGN DOWNLEAD CUSHION (BANDED) |  | 11
3.06 | HIGH DENSITY PVC ORANGE CONDUIT OD 50mm |  | 82
3.061 | POLE CABLE GUARD | m | 6
3.062 | CABLE ABRASION PROTECTOR |  | 3
SK-23 - STAY WIRE ASSEMBLY
3.063 | M20x350 BOLT, SPACER, FLAT WASHER x 3, NUT x 2, SPRING WASHER |  | 3
3.064 | GUY LOCK (100kN) |  | 2
3.065 | STAY WIRE GR1570 (12ø) |  | 2
3.066 | 11kV GUY INSULATOR |  | 2
3.067 | TENSIONER ADJUSTABLE (100kN) |  | 2
3.068 | OPEN THIMBLE |  | 2
3.069 | PVC GUY/STAY GUARD |  | 2
3.07 | M30 x 2500 GUY ANCHOR BOLT, 3 x M30 NUTES |  | 0
3.071 | SQUARE WASHER 32x32x30, ø32 |  | 0
3.072 | 2300mm GALVANISED STEEL 6mm RHS |  | 0
SP-E125-1018 - 11kV PIN SINGLE CONSTRUCTION STRUCTURE TYPE 11B
3.073 | WASHER M20 SQUARE FLAT 75X75X6 |  | 25
3.074 | M16X280 BOLT & NUT GALV |  | 25
3.075 | M12X130 BOLT & NUT GALV |  | 49
3.076 | HV/LV CROSS ARM 100X75X2000 |  | 13
3.077 | M20X400 GALV BOLT & NUT |  | 13
3.078 | PIN INSULATOR 11kV HV POLYMER |  | 37
3.079 | POLE GAIN |  | 13
3.08 | BRACE FLAT CROSSARM 850mm LENGTH |  | 25
3.081 | M16 ROUND WASHER GALV |  | 74
SP-E126-1018 - 11kV PIN DOUBLE CONSTRUCTION STRUCTURE TYPE 12B
3.082 | M20X500 BOLT & NUT GALV |  | 3
3.083 | M16X280 BOLT & NUT GALV |  | 5
3.084 | HV/LV CROSS ARM 100X75X2000 |  | 5
3.085 | M20 WASHER SQUARE FLAT 75X75X6 |  | 5
3.086 | POLE GAIN |  | 5
3.087 | BOLT & NUT GALV M20X500 SPACER |  | 5
3.088 | M16X130 BOLT & NUT |  | 9
3.089 | 11kV POLYMETRIC PIN INSULATOR |  | 13
3.09 | M20 ROUND WASHER GALV |  | 17
3.091 | BRACE FLAT CROSS ARM 850mm LENGTH |  | 9
3.092 | M16 ROUND WASHER GALV |  | 25
SP-E102-1018 - LV PIN SINGLE CONSTRUCTION STRUCTURE TYPE 1B - ABC CABLE
3.093 | M16X130 BOLT & NUT GALV |  | 33
3.094 | M16X280 BOLT & NUT GALV |  | 17
3.095 | M20X400 BOLT & NUT GALV |  | 17
3.096 | BRACE FLAT CROSSARM 850mm LENGTH |  | 33
3.097 | CROSSARM WOOD 100X100X2000 |  | 17
3.098 | INSULATOR LV PIN PORCELAIN B |  | 66
3.099 | PIN GALVANISED STRAIGHT B 5-8 |  | 66
3.1 | POLE GAIN |  | 33
3.101 | WASHER SQUARE FLAT 75X75X6 |  | 33
OTHER
3.102 | OPTICAL FIBRE SPIRAL VIBRATION DAMPER |  | 51
3.103 | WOODEN POLE 11m |  | 2
3.104 | WOODEN POLE 8m |  | 1
3.105 | OPTICAL FIBRE VIBRATION DAMPER - LONG SPAN |  | 15
Total Cost for 2.0 Materials

## Materials ADSS 02
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Materials - ADSS PROJECT
Item | Material Description | Unit | Quantity | Rate | Import Taxes and Duties | Amount
EAST HONIARA SUBSTATION TO POLE 5479 - ADSS Materials
4.001 | Prysmian SM@RTSPAN (F(2-144) AD150 FAL4/KE) |  | 3596
4.002 | Prysmian SM@RTCORE (F(12-144)_LTD FTL4/EP1) |  | 1703
4.003 | HIGH DENSITY PVC ORANGE CONDUIT OD 50mm |  | 1618
4.004 | 19mm STAINLESS STEEL BAND (EPASTRAP) (30m PER ROLL) |  | 5 box
4.005 | 19mm GRADE 304 STAINLESS STEEL BUCKLES (100 PER BOX) |  | 2
4.006 | EPASTRAP TOOL |  | 2
SK-24 - SUSPENSION CLAMP ASSEMBLY
Banded
4.007 | FIBERLIGN SUSPENSION CLAMP |  | 39
4.008 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 78
4.009 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 78
4.01 | 16mm GALV. HEAVY DUTY HOOK PLATE |  | 39
4.011 | 8kN WEAK LINK |  | 7
Bolted
4.012 | FIBERLIGN SUSPENSION CLAMP |  | 19
4.013 | M16X300mm HOOK BOLT, M16 NUT x 2, M16 WASHER x 2 |  | 19
4.014 | 8kN WEAK LINK |  | 3
SK-25 - SHORT SPAN TENSION ASSEMBLY
Banded
4.015 | FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 7
4.016 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 25
4.017 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 25
4.018 | 16mm GALV. HEAVY DUTY HOOK PLATE |  | 13
4.019 | CABLE ABRASION PROTECTOR |  | 7
Bolted
4.02 | FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 4
4.021 | M16X300mm EYE BOLT |  | 4
4.022 | M16 EYE NUT |  | 4
4.023 | M16 WASHER |  | 7
4.024 | CABLE ABRASION PROTECTOR |  | 4
SK-26 - CABLE STORAGE BRACKET
Banded
4.025 | FIBERLIGN CABLE STORAGE BRACKET |  | 6
4.026 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 11
4.027 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 11
4.028 | DOWNLEAD CUSHION CLAMP (BANDED) |  | 23
4.029 | STAINLESS STEEL STRAPPING 9.5mm |  | 45
4.03 | CABLE ABRASION PROTECTOR |  | 11
Bolted
4.031 | FIBERLIGN CABLE STORAGE BRACKET |  | 1
4.032 | M16X350mm BOLT |  | 2
4.033 | M16 WASHER |  | 3
4.034 | M16 NUT |  | 3
4.035 | DOWNLEAD CUSHION CLAMP (WOOD BOLTED) |  | 6
4.036 | CABLE ABRASION PROTECTOR |  | 3
SK-27 - SPLICE ENCLOSURE
| COYOTE ONE DOME ENCLOSURE (2-ENTRY) |  | 4
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 9
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 9
| COYOTE ONE POLE/WALL MOUNTING BRACKET KIT |  | 4
| LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 5
| 6 HOLE BOBBIN KIT |  | 4
SK-21 - UGOH TRANSITION ASSEMBLY
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 3
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 7
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 7
| 16mm GALV. HEAVY DUTY HOOK PLATE |  | 3
| STAINLESS STEEL STRAPPING 9.5mm |  | 19
| FIBERLIGN DOWNLEAD CUSHION (BANDED) |  | 4
| HIGH DENSITY PVC ORANGE CONDUIT OD 50mm | m | 123
| POLE CABLE GUARD | m | 9
| CABLE ABRASION PROTECTOR |  | 4
SK-22 - TELECOMMUNICATION PIT DETAILS
| POLYMER CONCRETE TELECOMMUNICATIONS PIT |  | 3
| POLYMER CONCRETE RISER - LOCKING |  | 3
| GALVANISED STEEL COVER - PADLOCKED |  | 3
| COYOTE ONE DOME - SPLICE BOX |  | 3
| 50mm COMMS BELL MOUTH |  | 6
| LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 3
| 6 HOLE BOBBIN KIT |  | 3
SK-23 - STAY WIRE ASSEMBLY
| M20x350 BOLT, SPACER, FLAT WASHER x 3, NUT x 2, SPRING WASHER |  | 5
| GUY LOCK (100kN) |  | 4
| STAY WIRE GR1570 (12ø) |  | 4
| 11kV GUY INSULATOR |  | 4
| TENSIONER ADJUSTABLE (100kN) |  | 4
| OPEN THIMBLE |  | 4
| PVC GUY/STAY GUARD |  | 4
| M30 x 2500 GUY ANCHOR BOLT, 3 x M30 NUTES |  | 3
| SQUARE WASHER 32x32x30, ø32 |  | 5
| 2300mm GALVANISED STEEL 6mm RHS |  | 3
0317-T1-047-01 - S1S0B GENERAL ARRANGMENT
| CROSS ARM ASSEMBLY (11kV) |  | 20
| 11kV PIN INSULATOR ASSEMBLY |  | 59
| PLT6 THK. PACKER |  | 59
| M20 BOLT Gr 8.8 Lg=45mm WITH FLAT AND SPRING WASHER |  | 39
| LV CROSS ARM (EA100X8 Gr345) |  | 20
| LV PIN INSUALTOR ASSEMBLY |  | 78
| M20 LONG BOLT Gr 8.8 WITH DOUBLE NUT AND FLAT WASHER |  | 39
| CROSS ARM BRACE |  | 39
| M16 LONG BOLT Gr 8.8 WITH FLAT AND SPRING WASHER |  | 20
| M16 LONG BOLT Gr 8.8 Lg = 50mm WITH FLAT AND SPRING WASHER |  | 39
| GAIN BLOCK |  | 20
| ID PLATE |  | 20
| ADDITIONAL EARTHING SET |  | 20
0317-T1-052-01 - S1S20B GENERAL ARRANGMENT
| CROSS ARM ASSEMBLY (11kV) |  | 5
| M20 BOLT Gr 8.8 WITH FLAT AND SPRING WASHER |  | 5
| 11kV PIN INSULATOR ASSEMBLY |  | 13
| PLT6 THK. PACKER |  | 13
| M20 BOLT Gr 8.8 Lg=45mm WITH FLAT AND SPRING WASHER |  | 9
| LV CROSS ARM (EA100X8 Gr345) |  | 5
| LV PIN INSUALTOR ASSEMBLY |  | 17
| M20 LONG BOLT Gr 8.8 WITH DOUBLE NUT AND FLAT WASHER |  | 3
| CROSS ARM BRACE |  | 9
| M16 LONG BOLT Gr 8.8 WITH FLAT AND SPRING WASHER |  | 5
| M16 LONG BOLT Gr 8.8 Lg = 50mm WITH FLAT AND SPRING WASHER |  | 9
| GAIN BLOCK |  | 5
| ID PLATE |  | 3
| ADDITIONAL EARTHING SET |  | 3
0317-T1-055-01 - 11kV PIN INSULATOR ASSEMBLY
| 11kV PIN INSULATOR |  | 68
| DISTRIBUTION TIE |  | 68
| PREFERRED INSULATOR GROOVE |  | 68
| M20 THREADED ROD WITH DOUBLE NUT AND FLAT WASHER |  | 68
0317-T1-057-01 - LV PIN INSULATOR ASSEMBLY
| 400V PIN INSULATOR |  | 90
| DISTRIBUTION TIE |  | 90
| PREFERRED INSULATOR GROOVE |  | 90
| M20 THREADED ROD WITH DOUBLE NUT AND FLAT WASHER |  | 90
OTHER
| OPTICAL FIBRE SPIRAL VIBRATION DAMPER |  | 11
| WOODEN POLE 11m |  | 21
Total Cost for 2.0 Materials

## Works - OPGW
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) Project Bill of Quantities: Materials - OPGW PROJECT
Item | Type of Works | Description | Unit | Quantity | Rate | Withholding Taxes | Amount
3.1 | Acess
3.1.1 | Tower Access Road | Tower sites access & clearing) | Each | 45
3.2 | Decomissioning Works
3.2.1 | Decomissioning | Removal of existing OHEW including fittings | km | 9.5
3.3 | Installation Works
3.3.1 | Stringing | Stringing of OPGW as per Stringing Schedule | Spans | 26
3.3.2 | Installation | OPGW Suspension Assembly | Assembly | 19
3.3.3 | Installation | OPGW Strain Assembly | Assembly | 60
3.3.4 | Installation | OPGW Insulated Strain Assembly | Assembly | 5
3.3.5 | Installation | Triangular yoke plate, 70mm spacing, 70kN, 16mm | Each | 3
3.3.6 | Installation | OPGW Joint box, coiling bracket & support cleats | Set | 6
3.3.7 | Installation | Vibration Dampers | Each | 264
3.3.8 | Installation | O&M spares - OPGW (3.5km) and fittings (10%) | Set | 1
3.3.9 | Installation | OPGW Earth Peak - Suspension + Design | Assembly | 17
3.3.10 | Site Clearing | Temporary Road Access to each tower where necessary | Each | 43
3.4 | commissioning Works
3.4.1 | commissioning | Testing and commissioning | Each | 1
Total Cost for Works | [6 empty] | 0

## Works - ADSS 01
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Materials - ADSS PROJECT
Item | Material Description | Unit | Quantity | Rate | Import Taxes and Duties | Amount
LUNGGA POWER STATION TO HENDERSON SOLAR FARM - ADSS Materials
2.2.1 | Prysmian SM@RTSPAN (F(2-144) AD150 FAL4/KE) (Overhead Section) | m | 5313
2.2.2 | Prysmian SM@RTCORE (F(12-144)_LTD FTL4/EP1) (Underground Section) | m | 290
2.2.3 | Prysmian LONG SPAN (Overhead Section) | m | 1367
2.2.4 | HIGH DENSITY PVC ORANGE CONDUIT OD 50mm (Underground Section) | m | 1573
2.2.5 | 19mm STAINLESS STEEL BAND (EPASTRAP) (30m PER ROLL) | box | 5
2.2.6 | 19mm GRADE 304 STAINLESS STEEL BUCKLES (100 PER BOX) |  | 2
2.2.7 | EPASTRAP TOOL |  | 2
SK-01 - SUSPENSION CLAMP ASSEMBLY
Banded
2.2.8 | FIBERLIGN SUSPENSION CLAMP |  | 4
2.2.9 | 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 7
2.2.10 | 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 7
2.2.11 | 16mm GALV. HEAVY DUTY HOOK PLATE |  | 4
2.2.12 | 8kN WEAK LINK |  | 2
Bolted
2.2.13 | FIBERLIGN SUSPENSION CLAMP |  | 45
2.2.14 | M16X300mm HOOK BOLT, M16 NUT x 2, M16 WASHER x 2 |  | 45
2.2.15 | 8kN WEAK LINK |  | 6
SK-02 - SHORT SPAN TENSION ASSEMBLY
Banded
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 16
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 33
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 33
| 16mm GALV. HEAVY DUTY HOOK PLATE |  | 17
| CABLE ABRASION PROTECTOR |  | 9
Bolted
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 20
| M16X300mm EYE BOLT |  | 11
| M16 EYE NUT |  | 11
| M16 WASHER |  | 21
| CABLE ABRASION PROTECTOR |  | 11
| FORMED WIRE DEADEND, EXTENSION LINK, DEAD-END COMPONENT. STRUCTURAL REINFORCING ROD |  | 1
SK-03 - CABLE STORAGE BRACKET
Banded
| FIBERLIGN CABLE STORAGE BRACKET |  | 4
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 7
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 7
| DOWNLEAD CUSHION CLAMP (BANDED) |  | 16
| STAINLESS STEEL STRAPPING 9.5mm |  | 31
| CABLE ABRASION PROTECTOR |  | 7
Bolted
| FIBERLIGN CABLE STORAGE BRACKET |  | 4
| M16X350mm BOLT |  | 5
| M16 WASHER |  | 9
| M16 NUT |  | 9
| DOWNLEAD CUSHION CLAMP (WOOD BOLTED) |  | 17
| CABLE ABRASION PROTECTOR |  | 9
SK-04 - SPLICE ENCLOSURE
| COYOTE ONE DOME ENCLOSURE (2-ENTRY) |  | 4
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 9
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 9
| COYOTE ONE POLE/WALL MOUNTING BRACKET KIT |  | 4
| LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 5
| 6 HOLE BOBBIN KIT |  | 4
SK-05 - TOWER ADSS CONNECTION
| M20 SHACKLE 120kN |  | 2
| LONG SPAN - FORMED WIRE DEADEND, EXTENSION LINK, DEAD-END COMPONENT. STRUCTURAL REINFORCING ROD |  | 6
SK-11 - TELECOMMUNICATION PIT DETAILS
| POLYMER CONCRETE TELECOMMUNICATIONS PIT |  | 2
| POLYMER CONCRETE RISER - LOCKING |  | 2
| GALVANISED STEEL COVER - PADLOCKED |  | 2
| COYOTE ONE DOME ENCLOSURE (2-ENTRY) |  | 2
| 50mm COMMS BELL MOUTH |  | 4
| LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 2
| 6 HOLE BOBBIN KIT |  | 2
SK-14 - UGOH TRANSITION ASSEMBLY (TYP)
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 2
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 5
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 5
| 16mm GALV. HEAVY DUTY HOOK PLATE |  | 2
| STAINLESS STEEL STRAPPING 9.5mm |  | 33
| FIBERLIGN DOWNLEAD CUSHION (BANDED) |  | 11
| HIGH DENSITY PVC ORANGE CONDUIT OD 50mm |  | 82
| POLE CABLE GUARD | m | 6
| CABLE ABRASION PROTECTOR |  | 3
SK-23 - STAY WIRE ASSEMBLY
| M20x350 BOLT, SPACER, FLAT WASHER x 3, NUT x 2, SPRING WASHER |  | 3
| GUY LOCK (100kN) |  | 2
| STAY WIRE GR1570 (12ø) |  | 2
| 11kV GUY INSULATOR |  | 2
| TENSIONER ADJUSTABLE (100kN) |  | 2
| OPEN THIMBLE |  | 2
| PVC GUY/STAY GUARD |  | 2
| M30 x 2500 GUY ANCHOR BOLT, 3 x M30 NUTES |  | 0
| SQUARE WASHER 32x32x30, ø32 |  | 0
| 2300mm GALVANISED STEEL 6mm RHS |  | 0
SP-E125-1018 - 11kV PIN SINGLE CONSTRUCTION STRUCTURE TYPE 11B
| WASHER M20 SQUARE FLAT 75X75X6 |  | 25
| M16X280 BOLT & NUT GALV |  | 25
| M12X130 BOLT & NUT GALV |  | 49
| HV/LV CROSS ARM 100X75X2000 |  | 13
| M20X400 GALV BOLT & NUT |  | 13
| PIN INSULATOR 11kV HV POLYMER |  | 37
| POLE GAIN |  | 13
| BRACE FLAT CROSSARM 850mm LENGTH |  | 25
| M16 ROUND WASHER GALV |  | 74
SP-E126-1018 - 11kV PIN DOUBLE CONSTRUCTION STRUCTURE TYPE 12B
| M20X500 BOLT & NUT GALV |  | 3
| M16X280 BOLT & NUT GALV |  | 5
| HV/LV CROSS ARM 100X75X2000 |  | 5
| M20 WASHER SQUARE FLAT 75X75X6 |  | 5
| POLE GAIN |  | 5
| BOLT & NUT GALV M20X500 SPACER |  | 5
| M16X130 BOLT & NUT |  | 9
| 11kV POLYMETRIC PIN INSULATOR |  | 13
| M20 ROUND WASHER GALV |  | 17
| BRACE FLAT CROSS ARM 850mm LENGTH |  | 9
| M16 ROUND WASHER GALV |  | 25
SP-E102-1018 - LV PIN SINGLE CONSTRUCTION STRUCTURE TYPE 1B - ABC CABLE
| M16X130 BOLT & NUT GALV |  | 33
| M16X280 BOLT & NUT GALV |  | 17
| M20X400 BOLT & NUT GALV |  | 17
| BRACE FLAT CROSSARM 850mm LENGTH |  | 33
| CROSSARM WOOD 100X100X2000 |  | 17
| INSULATOR LV PIN PORCELAIN B |  | 66
| PIN GALVANISED STRAIGHT B 5-8 |  | 66
| POLE GAIN |  | 33
| WASHER SQUARE FLAT 75X75X6 |  | 33
OTHER
| OPTICAL FIBRE SPIRAL VIBRATION DAMPER |  | 51
| WOODEN POLE 11m |  | 2
| WOODEN POLE 8m |  | 1
| OPTICAL FIBRE VIBRATION DAMPER - LONG SPAN |  | 15
Total Cost for 2.0 Materials

## Works - ADSS 02
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Materials - ADSS PROJECT
Item | Material Description | Unit | Quantity | Rate | Import Taxes and Duties | Amount
EAST HONIARA SUBSTATION TO POLE 5479 - ADSS Materials
| Prysmian SM@RTSPAN (F(2-144) AD150 FAL4/KE) |  | 3596
| Prysmian SM@RTCORE (F(12-144)_LTD FTL4/EP1) |  | 1703
| HIGH DENSITY PVC ORANGE CONDUIT OD 50mm |  | 1618
| 19mm STAINLESS STEEL BAND (EPASTRAP) (30m PER ROLL) |  | 5 box
| 19mm GRADE 304 STAINLESS STEEL BUCKLES (100 PER BOX) |  | 2
| EPASTRAP TOOL |  | 2
SK-24 - SUSPENSION CLAMP ASSEMBLY
Banded
| FIBERLIGN SUSPENSION CLAMP |  | 39
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 78
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 78
| 16mm GALV. HEAVY DUTY HOOK PLATE |  | 39
| 8kN WEAK LINK |  | 7
Bolted
| FIBERLIGN SUSPENSION CLAMP |  | 19
| M16X300mm HOOK BOLT, M16 NUT x 2, M16 WASHER x 2 |  | 19
| 8kN WEAK LINK |  | 3
SK-25 - SHORT SPAN TENSION ASSEMBLY
Banded
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 7
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 25
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 25
| 16mm GALV. HEAVY DUTY HOOK PLATE |  | 13
| CABLE ABRASION PROTECTOR |  | 7
Bolted
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 4
| M16X300mm EYE BOLT |  | 4
| M16 EYE NUT |  | 4
| M16 WASHER |  | 7
| CABLE ABRASION PROTECTOR |  | 4
SK-26 - CABLE STORAGE BRACKET
Banded
| FIBERLIGN CABLE STORAGE BRACKET |  | 6
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 11
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 11
| DOWNLEAD CUSHION CLAMP (BANDED) |  | 23
| STAINLESS STEEL STRAPPING 9.5mm |  | 45
| CABLE ABRASION PROTECTOR |  | 11
Bolted
| FIBERLIGN CABLE STORAGE BRACKET |  | 1
| M16X350mm BOLT |  | 2
| M16 WASHER |  | 3
| M16 NUT |  | 3
| DOWNLEAD CUSHION CLAMP (WOOD BOLTED) |  | 6
| CABLE ABRASION PROTECTOR |  | 3
SK-27 - SPLICE ENCLOSURE
| COYOTE ONE DOME ENCLOSURE (2-ENTRY) |  | 4
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 9
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 9
| COYOTE ONE POLE/WALL MOUNTING BRACKET KIT |  | 4
| LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 5
| 6 HOLE BOBBIN KIT |  | 4
SK-21 - UGOH TRANSITION ASSEMBLY
| FIBERLIGN DIELECTRIC DEAD END, AL CLEVIS THIMBLE 27mm GROOVE, ADSS EXTENSION LINKS 10mm 392 LONG |  | 3
| 19mm STAINLESS STEEL BAND (EPASTRAP) |  | 7
| 19mm STAINLESS STEEL BUCKLE (EPASTRAP) |  | 7
| 16mm GALV. HEAVY DUTY HOOK PLATE |  | 3
| STAINLESS STEEL STRAPPING 9.5mm |  | 19
| FIBERLIGN DOWNLEAD CUSHION (BANDED) |  | 4
| HIGH DENSITY PVC ORANGE CONDUIT OD 50mm | m | 123
| POLE CABLE GUARD | m | 9
| CABLE ABRASION PROTECTOR |  | 4
SK-22 - TELECOMMUNICATION PIT DETAILS
| POLYMER CONCRETE TELECOMMUNICATIONS PIT |  | 3
| POLYMER CONCRETE RISER - LOCKING |  | 3
| GALVANISED STEEL COVER - PADLOCKED |  | 3
| COYOTE ONE DOME - SPLICE BOX |  | 3
| 50mm COMMS BELL MOUTH |  | 6
| LOW PROFILE SPLICE TRAY (LITEGRIP) |  | 3
| 6 HOLE BOBBIN KIT |  | 3
SK-23 - STAY WIRE ASSEMBLY
| M20x350 BOLT, SPACER, FLAT WASHER x 3, NUT x 2, SPRING WASHER |  | 5
| GUY LOCK (100kN) |  | 4
| STAY WIRE GR1570 (12ø) |  | 4
| 11kV GUY INSULATOR |  | 4
| TENSIONER ADJUSTABLE (100kN) |  | 4
| OPEN THIMBLE |  | 4
| PVC GUY/STAY GUARD |  | 4
| M30 x 2500 GUY ANCHOR BOLT, 3 x M30 NUTES |  | 3
| SQUARE WASHER 32x32x30, ø32 |  | 5
| 2300mm GALVANISED STEEL 6mm RHS |  | 3
0317-T1-047-01 - S1S0B GENERAL ARRANGMENT
| CROSS ARM ASSEMBLY (11kV) |  | 20
| 11kV PIN INSULATOR ASSEMBLY |  | 59
| PLT6 THK. PACKER |  | 59
| M20 BOLT Gr 8.8 Lg=45mm WITH FLAT AND SPRING WASHER |  | 39
| LV CROSS ARM (EA100X8 Gr345) |  | 20
| LV PIN INSUALTOR ASSEMBLY |  | 78
| M20 LONG BOLT Gr 8.8 WITH DOUBLE NUT AND FLAT WASHER |  | 39
| CROSS ARM BRACE |  | 39
| M16 LONG BOLT Gr 8.8 WITH FLAT AND SPRING WASHER |  | 20
| M16 LONG BOLT Gr 8.8 Lg = 50mm WITH FLAT AND SPRING WASHER |  | 39
| GAIN BLOCK |  | 20
| ID PLATE |  | 20
| ADDITIONAL EARTHING SET |  | 20
0317-T1-052-01 - S1S20B GENERAL ARRANGMENT
| CROSS ARM ASSEMBLY (11kV) |  | 5
| M20 BOLT Gr 8.8 WITH FLAT AND SPRING WASHER |  | 5
| 11kV PIN INSULATOR ASSEMBLY |  | 13
| PLT6 THK. PACKER |  | 13
| M20 BOLT Gr 8.8 Lg=45mm WITH FLAT AND SPRING WASHER |  | 9
| LV CROSS ARM (EA100X8 Gr345) |  | 5
| LV PIN INSUALTOR ASSEMBLY |  | 17
| M20 LONG BOLT Gr 8.8 WITH DOUBLE NUT AND FLAT WASHER |  | 3
| CROSS ARM BRACE |  | 9
| M16 LONG BOLT Gr 8.8 WITH FLAT AND SPRING WASHER |  | 5
| M16 LONG BOLT Gr 8.8 Lg = 50mm WITH FLAT AND SPRING WASHER |  | 9
| GAIN BLOCK |  | 5
| ID PLATE |  | 3
| ADDITIONAL EARTHING SET |  | 3
0317-T1-055-01 - 11kV PIN INSULATOR ASSEMBLY
| 11kV PIN INSULATOR |  | 68
| DISTRIBUTION TIE |  | 68
| PREFERRED INSULATOR GROOVE |  | 68
| M20 THREADED ROD WITH DOUBLE NUT AND FLAT WASHER |  | 68
0317-T1-057-01 - LV PIN INSULATOR ASSEMBLY
| 400V PIN INSULATOR |  | 90
| DISTRIBUTION TIE |  | 90
| PREFERRED INSULATOR GROOVE |  | 90
| M20 THREADED ROD WITH DOUBLE NUT AND FLAT WASHER |  | 90
OTHER
| OPTICAL FIBRE SPIRAL VIBRATION DAMPER |  | 11
| WOODEN POLE 11m |  | 21
Total Cost for 2.0 Materials

## Undergrond Fiber
SOLOMON POWER Design, Supply, installation and commissioning of the Optical Fibre Ground Wire (OPGW) and All-Dielectric Self-Supporting (ADSS) Fiber Optic Cable Project Bill of Quantities: Materials - Single Mode Underground Fiber PROJECT
Item | Material Description | Unit | Quantity | Rate | Import Taxes and Duties | Amount
Lungga Power Station to EAST HONIARA SUBSTATION -Underground Fibre Materials
| Single Mode Optical Fibre cables ( 24 Core) | m | 5000
| Junction Boxes and lead | units | 25
| Termination Boxes | units | 25
| Fibre cable installation | m | 4000
| Juction box installation | units | 21
| Fiber termination | units | 20
| Fiber Racks | units | 2
Ranadi Substation to Mbokona Substation -Underground Fibre Materials
| Single Mode Optical Fibre cables (24 Core) | m | 9000
| Junction Boxes and lead | units | 45
| Termination Boxes | units | 45
| Fibre cable installation | m | 8000
| Juction box installation | units | 41
| Fiber termination | units | 41
| Fiber Racks | units | 2
Mbokona Substation to White River Substation -Underground Fibre Materials
| Single Mode Optical Fibre cables (24 Core) | m | 7000
| Junction Boxes and lead | units | 40
| Termination Boxes | units | 40
| Fibre cable installation | m | 6000
| Juction box installation | units | 36
| Fiber termination | units | 36
| Fiber Racks | units | 2
Total Cost for 2.0 Materials